## Slide 1: Imperial Irrigation District Electric Transmission System- Imperial Valley Economic & Energy Summit
Paul Rodriguez, P.E.,
Deputy Power Manager
June 11, 2025

## Slide 2: Electric System
2
Service territory of 6,471 square miles
Summer Peaking Utility (1,177MW)
Over 165,000 residential and commercial customers
1,780-mile transmission network and 5,004-mile distribution lines.
IID Total Generation Capacity is over 2,181MW
Imperial Valley Area
  42 Substations
Coachella Valley Area
  25 Substations

## Slide 3: Vertical Integration
3
IID is a vertically integrated utility
Meaning it manages and controls all aspects of the electric grid, including:
  Generation
  Transmission
  Distribution
  Balancing Authority Functions

## Slide 4: Generation Portfolio w/Targets
4

## Slide 5: IID’s Transmission System
5

## Slide 6: Balancing Authority
6
Responsible for managing real-time balancing of electric supply and demand within its territory.
Maintains a FERC-Compliant Open Access Transmission Tariff (OATT)
Facilitates Resource Interconnection and Power Transactions
Promotes Regional Grid Reliability and Planning

## Slide 7: Large Load Customer (TCSP)
7
Applies to customers with large demand
  Service provided at ≥34kV transmission voltage
Recent inquiries have involved demand levels as high as 1,000 MW.
  Interest is coming from a diverse range of industries, including mineral extraction, hydrogen production, and data centers.
IID is actively developing new frameworks to address the unique requirements of these large-load interconnections.
  This effort is essential, as not all large-load customers have the same infrastructure, operational, or interconnection needs

## Slide 8: High-Demand Interconnection Challenges
8
Annual load growth is forecasted at roughly 2%
  Mostly driven by electrification mandates
  And growth in the Coachella Valley
IID’s load profile shows ample winter capacity but tight summer conditions

## Slide 9: TCSP
9
Developers interested in more information on IID’s TCSP process they can contact TCSP@iid.com
The application can be found on IID’s website under Power Department and New Construction tab
  www.iid.com/power/new-construction

## Slide 10: Questions
Contact:
Paul Rodriguez
prodriguez@iid.com